## Business Requirements: Turbine Sensor Alert Triage & Escalation

1. Reliable Turbine Identification
Every incoming sensor reading must be correctly and automatically matched to the specific physical turbine it came from, regardless of the identifier format used by the sensor vendor. Mismatches or unmatched readings must not silently disappear — they must be visible for manual follow-up.

2. Complete and Accessible Reading History
A complete, chronological record of every sensor reading received for each turbine must be retained — including the reported error code, temperature, and vibration values — regardless of whether that reading was deemed critical. It is of crucial importance that the sensor history is viewable by relevant staff directly in the context of the turbine it relates to (same page), without needing to search separate systems or files.

3. Consistent, Automatic Severity Assessment
Every incoming reading must be assessed for severity immediately upon receipt, using a consistent and documented set of business rules, so that risk assessment no longer depends on an individual's judgment, availability, or attentiveness. The assessment logic must reflect the following business priorities with the following Severity classification:

- Critical: Simultaneous elevated temperature and elevated vibration represents the most severe risk category.

- High: Elevated vibration alone must be treated as more urgent than elevated temperature alone, reflecting its stronger association with imminent mechanical failure.

- Medium: Elevated temperature alone represents a moderate concern.

- Normal: Readings within normal operating ranges represent baseline, non-urgent status.

- Where uncertainty exists, the assessment should err toward flagging higher risk rather than under-flagging, given that missed critical events carry significantly higher cost than false alarms.

4. Turbine-Specific, Adjustable Severity Criteria
What qualifies as "elevated" temperature or vibration is not uniform across the fleet — it depends on the specific turbine model, given differences in age and normal operating behavior. Therefore:

- Severity criteria must be defined per turbine model, not as a single fleet-wide standard.

- Authorized operational/engineering staff must be able to review and revise these criteria over time — periodically, or in response to a specific incident — without requiring a lengthy rebuild process.

- When criteria are revised, it must be clear which version of the criteria applied to any given historical reading, so past assessments remain understandable in context.

5. Plain-Language Issue Explanation
Every high or critical assessed reading must be accompanied by a short, clear, non-technical explanation of what was detected and why it matters, so that staff reviewing it can understand the issue at a glance without interpreting raw sensor values themselves.

6. Guaranteed Immediate Escalation for Critical Conditions
Any reading assessed as high severity must automatically and immediately trigger a response action — without requiring a person to notice, review, or manually initiate it. This response must:

- Be directed to a response team using a new Salesforce queue Field Response Queue, who are responsible for urgent field response. Membership of the queue will be determined later (outside this project). The queue does not exists today should be created as part of the project.

- Clearly communicate the nature and severity of the issue at the point the responsible team receives it.

- The response team do not need notifications (email or in-app notifications) for this first release

- Not depend on any manual step (such as a phone call) as a necessary safeguard for the escalation to be effective.

7. No Escalation Noise for Non-Critical Readings
Readings that do not meet the high or critical severity threshold must not generate an urgent response action. They should instead be retained as part of the turbine's ongoing history for trend visibility and later analysis, without consuming urgent-response capacity.


8. Equipment Reference Data Integrity
Foundational information about each turbine — including its model, installation date, and operating status — must be accurate, current, and available, since this information directly determines which severity criteria apply and underpins accurate reporting.
Asset Model does not exists in Salesforce today and the fields needs to be created as part of this project.
Asset ExternalIdentifier, and Model will be populated across the fleet with an existing integration (outside the scope of this project – but can be assumed to be in place for go-live)

9. Visibility of Data on Existing Pages
NEP employees must be able to find all new information relevant to a turbine or a ticket without navigating away from the record they're already viewing. Specifically:

- Account page: Asset list must be visible and the first related list a user encounters on the Account page — reflecting that equipment visibility is the primary reason staff open an account record in this context.

- Turbine (Asset) page: All new sensor-related information must be visible directly on the Asset record — both the historical list of sensor readings and any new descriptive fields captured about the turbine. Staff should not need to search a separate object or tab to see a turbine's sensor history or current status indicators.

- Ticket (Case) page: Any new fields introduced to support this capability (e.g., severity score, plain-text summary, linked reading) must be visible directly on the Case layout used by the dispatch/emergency response team — not hidden in a related list or a separate section requiring extra clicks.